## Sheet1
Project Checklist （Please fill with red word）
| Item | Info-1 | Info-2 | Remark
General Info | Location （Latitude and longitude）
| Project Site Environment | Humidity range______% to______% Temperature range_______℃ to______℃ Distance to coast________km
| Power Supply | □ Utility □ Genset □ Photovoltaic □ Energy Storage □ Others, please specify
Delivery Date
COD Date
Trade/Price Terms
Project Description
Please help to provide Single Line Diagram(SLD) if available
Energy Storage | BESS Installation Environment | □ Indoor installation □ Outdoor installation □ Others, please specify
| Product Type | □ Cabinet □ Container □ Others, please specify
| Local Power Grid | □ Yes, please specify voltage level □ No
| Voltage & Frequency of POI | □ AC 400V □ AC 10KV □ AC 33kV □ Others, please specify | □50Hz □60Hz
| BESS Capacity | Rated power________(MW) | Rated capacity________(MWh) Usable capacity________(MWh)
| Battery capacity measure point | □ AC POI □ Battery Output □ Battery Rated Capacity
| USE Case(Cycle/day) | □ 1 Cycle/day □ 2 Cycle/day □ 3 Cycle/day □ Others, please specify
| Warranty Period(years) | □ 3 years □ 5 years □ 10 years □ Others, please specify
| Operation mode | □ Grid-connected □ Off-grid □ Switch-over between grid-connected and off-grid
| On-grid/off-grid switching time | ___________ms
| On-grid/off-grid switching mode | □ Automatic □ Manual
| Energy Storage application scenarios | □ Renewable Energy Smoothing/consumption □ Frequency regulation □ Peak-shaving, Peak-shifting, Demand response □ Energy Buffer for EV Charger □ Microgrid □ Backup power supply □ Others, please specify
| Transformer capacity | Transformer capacity_________ kVA； Transformer voltage ratio_____/______ Transformer quantity__________pcs
| load information | Peak load_________MW | □ No inductive load □ There is inductive load,____% of all loads *Inductive loads including big machines, pumps, Fixed-speed AC | If available, please provide load information table
If available,please provide floor plan drawings
Please provide the location and photos of the POI
Energy Management System(EMS) | EMS supplier(if available)
| Monitoring requirements | □ local touch-screen monitoring □ Remote monitoring
Required EMS Control logic
PV | Photovoltaic in the system | □ AC-coupling □ DC-coupling
| Photovoltaic installation capacity | ________MWp | □ Existing □ To be added
Genset | Diesel Genset Power | ________MWA | □ Existing □ To be added
Others | Other requirements